## Slide 1: Membrane Technologies for Wastewater Treatment W. Gilbert O’Neal, Ph.D., P.E.

## Slide 2: Membrane Biological Reactors (MBr)
Membrane Filtration of Activated Sludge Mixed Liquor
Eliminates clarifiers
Removes solids and turbidity from effluent
Reduced footprint
Tolerates
  High SRT, MLSS
  Filamentous Bacteria

## Slide 6: ZeeWeed MBr
https://www.youtube.com/watch?v=d0bcPBjNz2g
https://www.youtube.com/watch?v=H_sqYYBUZB0
https://www.youtube.com/watch?v=2R9tmlaP5Rc

## Slide 9: Zero Liquid Discharge (ZLD)
Water Reuse (90-95%)
“Dry” Residual Disposal
System Components
  Biological Treatment
  Chemical Treatment
  Macro Filtration
  Membrane Filtration (UF and RO)
  Evaporation (MEE)

## Slide 10: Application
Regulatory Restrictions
  India
Resource Limitations
Discharge Limitations
Sustainability Goals

## Slide 11
Filter
Heat Exchanger
Pump
Equalization
Cooling Tower
Biological Oxidation
Secondary Clarifier
Quartz Filter
UF
Softener
De-carbonator
3- stage RO
Resin Filter
Filter Press
Solar Pond
MEE
Air Evaporator
Reject - 7%
Sludge Thickener
Sludge storage
Permeate to process – 93%
ZLD PLANT FLOW DIAGRAM
Influent

## Slide 12: ZLD Schematic

## Slide 13: RO System Detail

## Slide 14: ZLD Mass Balance

## Slide 15: Influent Characteristics
1.6 mgd

## Slide 16: Biological Effluent

## Slide 17: RO Permeate

## Slide 18: Reject Water
71,600 gpd

## Slide 19: ZLD Cost
100,000 GPD System
Capital Cost: $2,000,000
Operating Cost: $16/1000 gal.